# 📄 Diamond Perimeter & Vault Integrity Control

Document Type: Guidance Document
Domain: Protection
Visibility: All Users
Tags: diamond-specific, perimeter security, vault integrity, barriers, alarms, key control, three-tier surveillance, industry-priority

AI Backoffice Description:
Diamond-specific model for hardening site perimeters and vaults. Implements defense-in-depth, certified vault construction, dual-custody key control, alarm/CCTV integration with black-screen monitoring (Tier 2) and independent review (Tier 3). Overrides generic guidance, emphasizing technology-first controls and remote assurance.

### 🔹 Assessment Criteria (Structured)

- Requirement: The site must implement a defense-in-depth perimeter (outer fence, sterile zone, inner fence) with controlled access points.
Evidence: Perimeter drawings, zone maps, and inspection logs.

- Requirement: All perimeter barriers must meet defined specifications (height, anti-climb, anti-dig, gate hardness) and be inspected monthly.
Evidence: Spec sheets, maintenance/inspection records, defect registers.

- Requirement: Mantraps/airlocks must protect entries to custody areas and vault corridors, with anti-passback configured.
Evidence: Access control configuration, test logs, CCTV clips.

- Requirement: The vault must be constructed to an approved rating with documented penetration resistance and monitored 24/7.
Evidence: Vault certification/engineering reports, monitoring logs.

- Requirement: Alarm systems (intrusion, seismic, duress) must cover perimeter and vault, with response SLAs and test schedules.
Evidence: Alarm zone plans, weekly test records, response-time reports.

- Requirement: CCTV coverage must provide facial/hand clarity at gates, mantraps, and vault portals; feeds must integrate with black-screen monitoring and independent review.
Evidence: Camera layout with PPF calculations, review logs, audit trails.

- Requirement: Key and lock control for vaults and critical doors must be dual-custody with serialized keys and quarterly reconciliations.
Evidence: Key registry, dual-sign logs, quarterly reconciliation reports.

- Requirement: Two-person rule must apply for vault opening/closing and any work inside custody vaults.
Evidence: Access logs, vault open/close sheets, CCTV verification.

- Requirement: Sealing and tamper-evidence procedures must protect vault containers/ports; seal exceptions trigger investigation.
Evidence: Seal registers, exception reports, investigation outcomes.

- Requirement: Assurance testing (red-team, covert approach, penetration recons) must be conducted on a defined program and tracked to closure.
Evidence: Test plans, findings, remediation records, sign-off.