# Maturion Knowledge File: Resilience and Fail-Safe Control Model

## Category: Risk Framework – System Integrity & Continuity

## Tags: Resilience, Fail-Safe Design, Redundancy, Business Continuity, Automated Response, Recovery Planning

## Visibility: Maturion AI only

## Purpose: Enables Maturion to evaluate and support the design of resilient control systems that continue operating under disruption and recover quickly after incidents.

---

## 1. Definition of Resilience

Resilience =

**The ability to continue functioning and recover after a disruption.**

Includes:

- Absorbing shock

- Limiting impact

- Adapting to change

- Recovering quickly

> “This control is critical but lacks a fallback. Want to design a resilience layer?”

---

## 2. Fail-Safe and Fail-Operational Logic

Maturion distinguishes:

- **Fail-Safe** – control defaults to a safe state (e.g., lock on power failure)

- **Fail-Operational** – control continues operating under fault (e.g., backup systems)

Both are evaluated based on:

- Risk of failure

- Consequence of inaction

- Environment and context

---

## 3. Redundancy Strategy

Resilient systems often include:

- Backup devices

- Alternative procedures

- Parallel data streams

- Secondary communication channels

> “Only one camera covers this area. Want to add redundancy?”

---

## 4. Automation and Recovery

Maturion prioritizes:

- Automated fallback

- Self-healing controls

- Graceful degradation

- Predefined restart sequences

> “System requires manual reboot after failure. Recommend automated recovery?”

---

## 5. Predictive Monitoring

Supports resilience through:

- Early warning indicators

- Maintenance triggers

- Stress-testing simulations

- Behavioral fatigue detection

> “This asset shows repetitive strain.